| CENTRIFUGAL PUMP SIZING |  |  |  |
| --- | --- | --- | --- |
| ##### Service: |  | ##### Pump number: |  |
| ##### Fluid | ##### WATER | ##### Suction side of pump |  |
| ##### Viscosity (cSt) | ##### 1.13 | ##### Pump suction elevation (ft) |  |
| ##### Temperature (f) | ##### 70 | ##### Suction fluid surface elevation min. (ft) |  |
| ##### Specific gravity | ##### 1.0 | ##### Suction fluid surface pressure (ft fluid) |  |
|  |  | ##### Discharge side of pump |  |
|  |  | ##### Discharge surface elevation max. or discharge pipe end elevation (ft) |  |
| ##### Atmospheric pressure (ft water) | ##### 32.8 | ##### Surface pressure in discharge tank or pipe end pressure (ft fluid) |  |
| ##### Vapor pressure (ft water) | ##### 22 |  |  |
|  |  | ##### Pipe roughness RMS (ft) | ##### .00015 |
| ##### 1. Design flow (USgpm) | ##### 750 | ##### Comments: |  |
| ##### 2. Flow contingency % (applied on 1.) | ##### 0 |  |  |
| ##### 3. Flow depreciation % (applied on 1.) | ##### 0 |  |  |
| ##### 4. Total (USgpm) | ##### 750 |  |  |
| ##### 5.Discharge static head (ft fluid) | ##### 40 |  |  |
| ##### 6. Suction static head (ft fluid) | ##### 10 |  |  |
| ##### 7. Total static head (ft fluid) | ##### 20 |  |  |

| ### Calculations |  |  |
| --- | --- | --- |
| ##### 8. Pipe and fittings friction (ft fluid) (calc. on 1.) |  | ##### Comments: |
| ##### 9. Equipment friction (ft fluid) (based on 1.) |  |  |
| ##### 10. Velocity head (ft fluid) |  |  |
| ##### 11. Sub-total (ft fluid) (7+8+9+10+11) |  |  |
| ##### 12. Total head contingency (ft fluid) (applied on 8, 9, 10) |  |  |
| ##### 13. Total head depreciation (ft fluid) (applied on 8, 9, 10) |  |  |
| ##### 14. Total head (ft fluid) |  |  |